CHEMISTRY RISK ASSESSMENT FORM

Note: This risk assessment is only a suggested format. It is the responsibility of any person intending to carry out the experiment to ensure that the information contained in it is accurate, complete, up to date and that it is appropriately adapted for their own particular circumstances.

Title of Experiment: 2.7.1gii – Flame tests
Summary of procedures and possible non-chemical hazards:

· Flame tests with small quantities (< 2g) of various metal chlorides

Substances being used or made:

Substance



Hazard

Disposal

Lithium chloride


Harmful

W1, W7

Sodium chloride


Low hazard

W7

Potassium chloride


Low hazard

W7

Magnesium chloride

Calcium chloride


Irritant


W7

Strontium chloride


Irritant


W7

Barium chloride


Toxic


W7

Copper(II) chloride


Harmful

W7






Environment

[Conc hydrochloric acid

Corrosive


]

Control measures to be used:

· Eye protection and lab coats to be worn at all times.

· Limit reagent quantities to < 2 grams each

· Use flame test stations and pre-cleaned wires to eliminate the need for concentrated hydrochloric acid

Communication to students:

· Eye protection and lab coats are to be worn at all times.

· Avoid contact of all chemicals with skin.

· Don’t overload the flame test wire and clean up any spillages immediately

Sources of information: CLEAPSS Hazcards 2007
Document date: February 2008

Checked by:………………………………………. Date:……………………………..
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